## Sheet1
EQUIPMENT PRICING LIST
ADDENDUM #1
BID ON: CHILLER MAINTENANCE SERVICE - VARIOUS SCHOOLS
BID NO: 22-109
OPENED: JANAURY 11, 2023 @ 2:00 pm
We propose to furnish chiller maintenance services as described and specified, including all necessary materials, labor, equipment and other expenses for the following cost
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Allentown Ele | Air cooled chiller | York | YCIV0227SA46VAB | 2AYM014871 | 2012-03-06 |  |  | $ | $ | $
Baker H | Centrifugal Water Cooled | Trane | CUHF049G1AWOACL2736Q9E6N | LO2A01581 | 2002-08-14 |  |  | $ | $ | $
Baker H | Centrifugal Water Cooled | Trane | CUHF049G1AWOACL2736Q9E6N | LO2A01578 | 2002-04-17 |  |  | $ | $ | $
Baker H | Cooling Tower | Evapco | AT112-812 | MO24763 |  |  |  | $ | $ | $
Baker H | Cooling Tower | Baltimore | JF269G | 97400699 |  |  |  | $ | $ | $
Baker H | Cooling Tower | Baltimore | JF269G | 97400698 |  |  |  | $ | $ | $
Barton | Air cooled chiller | Trane | CGAM100F (south chiller) | U20K82644 |  | $ | full warranty until 10/26/25 | $ | $ | $ | PM COST
Barton | Air cooled chiller | Trane | CGAM100F (north chiller) | U20 K82643 |  | $ | full warranty until 10/26/25 | $ | $ | $ | PM COST
Blount High | Centrifugal Water Cooled | Trane | CVHF041GA2DOACL | LO3D04069 | 2005 |  |  | $ | $ | $
Blount High | Centrifugal Water Cooled | Trane | CVHF041GA2DOACL | LO3D04061 | 2005 |  |  | $ | $ | $
Blount High | Cooling Tower | Evapco | AT112-812 | 25728 |  |  |  | $ | $ | $
Blount High | Cooling Tower | Evapco | AT112-812 | 25727 |  |  |  | $ | $ | $
Booth | Air cooled chiller | Trane | RTAE275 | U16J06254 | 2017-04-14 | $ | 10 year full warranty | $ | $ | $ | PM COST
Breitling E | Air cooled chiller | McQuay | AWS265BDPEWNN-ER | STNU111200062 | 2012-01-16 |  |  | $ | $ | $
Bryant High | Air cooled chiller | McQuay | AWS190BDSU | STNU120100024 | 2012-03-07 |  |  | $ | $ | $
Bryant High | Air cooled chiller | McQuay | AWS190BDSU | STNU120100033 | 2012-03-07 |  |  | $ | $ | $
Bryant High | Air cooled chiller | McQuay | AWS190BDSU | STNU120100008 | 2012-03-07 |  |  | $ | $ | $
Burns | Air Cooled Screw | McQuay | AGS190DS | stnn080800008 | 2008-09-01 |  |  | $ | $ | $
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Burns | Air Cooled Screw | Mc Quay | AGS190DS | stnn080800019 | 2008-09-01 |  |  | $ | $ | $
Burns-New Wing | Air cooled | Daikin | AGZ035E | STNU150700171 | 2015-12-16 |  |  | $ | $ | $
Burroughs-New Wing | Air cooled Scroll | McQuay | AGZ055BS12-ER11 | STNU050300176 | 2005-12-19 |  |  | $ | $ | $
Calcedeaver | Air cooled chiller | York | YVAA0153BAF46 | 11531E4265936 8 | 2014-08-27 |  |  | $ | $ | $
Calcedeaver | Air cooled chiller | York | YVAA0153BAF46 | 11531E42659367 | 2014-08-27 |  |  | $ | $ | $
Calloway/Smith | Air-Cooled Screw | Trane | RTAA1854XPO1A3DOAB | U98B08218 | 1998-02-17 |  |  | $ | $ | $
Calloway/Smith | Air-Cooled Screw | Trane | RTAA1854XPO1A3DOAB | U98BO8217 | 1998-02-17 |  |  | $ | $ | $
Castlen | Air cooled chiller | Trane | CGAM130 | U16J57635 | 2017-03-05 | $ | 10 year full warranty-3/3/27 | $ | $ | $ | PM COST
Castlen | Air cooled chiller | Trane | CGAM130 | U16J57636 | 2017-03-05 | $ | 10 year full warranty-3/3/27 | $ | $ | $ | PM COST
Causey | Air cooled chiller | Trane | RTAC350 | U19M05615 | 2020-01-09 | $ | 10 year full warranty-1/9/30 | $ | $ | $ | PM COST
Causey | Air cooled chiller | Trane | RTAC350 | U19M05616 | 2020-01-09 | $ | 10 year full warranty-1/9/30 | $ | $ | $ | PM COST
Central office-Whse | Centrifugal Water Cooled | Trane | CVHE450 | L15E03027 | 2016-09-05 | $ | full warranty until 6-17-2025 | $ | $ | $ | PM COST
Central office-Whse | Centrifugal Water Cooled | Trane | CVHE450 | L15E02919 | 2016-09-05 | $ | full warranty until 6-17-2025 | $ | $ | $ | PM COST
Central office-Whse | Cooling Tower | Marley | 10057498-A2-NC8407GG12 |  |  |  |  | $ | $ | $
Central office-Whse | Cooling Tower | Marley | 10057498-A1-NC8407GG12 |  |  |  |  | $ | $ | $
Central office-Fed Pgms | Centrifugal Water Cooled | Trane | CVHE320 | L92A02692 |  |  |  | $ | $ | $
Central office-Fed Pgms | Centrifugal Water Cooled | Trane | CVHE320 | L92A01979 |  |  |  | $ | $ | $
Central office-Fed Pgms | Cooling Tower | Evapco | AT12-5244 | 911714 |  |  |  | $ | $ | $
Central office-Fed Pgms | Cooling Tower | Evapco | AT12-5244 | N/A |  |  |  | $ | $ | $
Central office-Admin Bldg | Helical rotary chiller | Trane | RTWD200A2 | U14G096184 | 2014-09-01 |  |  | $ | $ | $
Central office-Admin Bldg | Helical rotary chiller | Trane | RTWD200A2 | U14G096185 | 2014-09-01 |  |  | $ | $ | $
Central office | Cooling Tower | Evapco | AT19-89 | 6-305633 |  |  |  | $ | $ | $
Central office | Cooling Tower | Marley | NC8302FL1BM NC-242267-Al |  |  |  |  | $ | $ | $
Chastang Chiller #1 |  | Johnson | YVAA0213ADF46 | 11531D64505652 | 2017-04-11 |  |  | $ | $ | $
Chastang Chiller #2 |  | Johnson | YVAA0213ADF46 | 11531D64505653 | 2017-04-10 |  |  | $ | $ | $
Citronelle H old school | Aior cooled chiller | Trane | CGAM090F | U15F49612 | 2015-07-12 |  |  | $ | $ | $
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Citronelle H old school | Air cooled chiller | Trane | CGAM090F | U15F49611 | 2015-07-12 |  |  | $ | $ | $
Citronelle H new school | Air Cooled chiller | Trane | RTAC2504 | U15L03725 | 2016-07-11 |  |  | $ | $ | $
Citronelle H new school | Air cooled chiller | Trane | RTAC2504 | U15L03724 | 2016-07-11 |  |  | $ | $ | $
CLC | Air cooled screw | Trane | RTAC250AUDONUAFN | UO2K06929 |  |  |  | $ | $ | $
Collins Rhodes | Air cooled Chiller | Trane | RTAE200 | U16K06260 | 2016-04-01 | $ | 10 year full warranty-3/1/27 | $ | $ | $ | PM COST
Collins Rhodes | Air cooled chiller | Trane | RTAE200 | U16K06259 | 2016-04-01 | $ | 10 year full warranty-3/1/27 | $ | $ | $ | PM COST
Council | Air cooled chiller | Trane | CGAM120 | U16E54887 | 2016-08-05 | $ | 10 year full warranty-5/23/26 | $ | $ | $ | PM COST
Council | Air cooled chiller | Trane | CGAM120 | U16E54888 | 2016-08-05 | $ | 10 year full warranty-5/23/26 | $ | $ | $ | PM COST
Craighead | Air cooled chiller | Trane | ACRB1505EUAB | U21M04453 | 2022-06-16 | $ | 10 year full warranty | $ | $ | $ | PM COST
Craighead | Air cooled chiller | Trane | ACRB1505EUAB | U21M04452 | 2022-06-16 | $ | 10 year full warranty | $ | $ | $ | PM COST
Davidson H-Auditorium | Air cooled scroll | McQuay | AGZ110B | STNU050100002 | 2005-11-14 |  |  | $ | $ | $
Davidson H | Air cooled chiller | Trane | RTAE180 | U16J06257 | 2017-03-06 | $ | 10 year full warranty | $ | $ | $ | PM COST
Davidson H | Air Cooled Chiller | Trane | RTAE200 | U16J06255 | 2017-03-06 | $ | 10 year full warranty | $ | $ | $ | PM COST
Davidson H | Air cooled chiller | Trane | RTAE200 | U16J06256 | 2017-03-06 | $ | 10 year full warranty | $ | $ | $ | PM COST
Dawes | air cooled chiller | York | YVAA0213 | 82012H27639738 | 2022-11-14 | $ | 10 year full warranty | $ | $ | $ | PM COST
Dawes | Air cooled chiller | York | YVAA0213 | 82012H27639739 | 2022-11-14 | $ | 10 year full warranty | $ | $ | $ | PM COST
Denton | Air Cooled Screw | York | YCAS0170EC46XGA | RMMM007102 | 2004-08-01 |  |  | $ | $ | $
Denton | Air Cooled Screw | York | YCAS0170EC46XGA | RMMM007103 | 2004-08-01 |  |  | $ | $ | $
Dixon Corner E | Air Cooled Scrow | Mc Quay | AGZ045CHSNN-ER10 | STNU080800072 | 2008-09-30 |  |  | $ | $ | $
Dixon Corner E | Air CooledScroll | Trane | CGAFC60EAEA10000 | COLF52560 | 2003-03-29 |  |  | $ | $ | $
Dixon Corner E | Air Cooled Scroll | Trane | CGAFC60EAEA10000 | COLF52561 | 2003-03-29 |  |  | $ | $ | $
Dixon Corner E | Air Cooled Scroll | Trane | CGAFC60EAEA10000 | COLF52562 | 2003-03-29 |  |  | $ | $ | $
Dodge | Air Cooled Screw | York | YCAS0330EC46YFA | RDKM000087 | 2001-06-01 |  |  | $ | $ | $
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Evans | Air cooled scroll | McQuay | AGZ160DHSNN | STNU130100036 | 2014-01-14 |  |  | $ | $ | $
Evans | Air cooled scroll | McQuay | AGZ160DHSNN | STNU130100033 | 2014-01-15 |  |  | $ | $ | $
E R Dickson E | Air Cooled Screw | Trane | RTAC1554UDONUAFN | UO2J06455 | 2003-07-01 |  |  | $ | $ | $
E R Dickson E | Air Cooled Screw | Trane | RTAA1254XNO1A3COABEN | UO2J06456 | 2003-07-01 |  |  | $ | $ | $
Elsie Collier | AirCooled Screw | Trane | RTAA2704XT01A3COBG | U00L05450 | 2001-06-04 |  |  | $ | $ | $
Fonde E | Air cooled chiller | Trane | RTAE150 | U16J06258 | 2017-02-20 | $ | 10 year full warranty | $ | $ | $ | PM COST
Fonde E | A ir cooled chiller | Trane | RTAE150F | U14E09252 | 2014-06-04 |  |  | $ | $ | $
Forrest Hill E | Air Cooled Screw | Trane | RTAA1304XTO1A3COB | U00E09094 | 2000-05-11 |  |  | $ | $ | $
Forrest Hill E | Air Cooled Screw | Trane | RTAA1304XTO1A3COB | UOOE09095 | 2000-05-11 |  |  | $ | $ | $
George Hall E | Air Cooled Screw | Trane | RTAC2754UCONUAFNN | UO2BO3335 | 2002-05-03 |  |  | $ | $ | $
Gilliard Ele | Air Cooled Screw | Trane | RTAC1704UJON | UO5D01642 |  |  |  | $ | $ | $
Gilliard Ele | Air Cooled Screw | Trane | RTAC1704UJON | UO5D01641 |  |  |  | $ | $ | $
Grand Bay | air cooled screw | mc quay | AGS210CS27 | STNU070700160 | 2008-02-17 |  |  | $ | $ | $
Grand Bay | Air Cooled Scroll | McQuay | AGZ100BS27ER11 | STNU050300095 | 2006-03-23 |  |  | $ | $ | $
Grant | Air cooled chiller | Trane | CGRAM110A | U21M04450 | 2022-09-26 | $ | 10 year full warranty | $ | $ | $ | PM COST
Grant | Air cooled chiller | Trane | CGAM110A | U21M04451 | 2022-09-26 | $ | 10 year full warranty | $ | $ | $ | PM COST
Griggs Ele | Air cooled chiller | Carrier | 30XVB1605S2045-H2 | 2922Q98216 |  | $ | 10 year full warranty/ | $ | $ | $ | PM COST
To Be Installed 1/2023
Griggs Ele | Air Cooled Screw | York | YCAS0150EC17YGASB | RHNM009372 | 0/0/06 |  | To Be Removed 1/2023
Holloway | Air cooled chiller | Trane | CGAM060 | U16J57639 | 2017-04-12 | $ | 10 year full warranty-3/28/27 | $ | $ | $ | PM COST
Holloway | Air cooled chiller | Trane | CGAM060 | U16J57640 | 2017-04-12 | $ | 10 year full warranty-3/28/27 | $ | $ | $ | PM COST
Hankins m | Air Cooled Screw | Trane | RTAC140AUCONUAFNN | UO1L02326 | 2002-09-13 |  |  | $ | $ | $
Haskew | Air cooled Chiller | Trane | RTAE275 | U16K06261 | 2017-04-14 | $ | 10 year full warranty-4/10/27 | $ | $ | $ | PM COST
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Hollinger Is | Air cooled chiller | Trane | CGAM090F | U16F54823 | 2016-07-22 | $ | 10 year full warranty-8/1/26 | $ | $ | $ | PM COST
Hollinger Is | Air cooled chiller | Trane | CGAM090 | U16F54824 | 2016-08-01 | $ | 10 year full warranty-8/1/26 | $ | $ | $ | PM COST
Hutchens | Air cooled chiller | Trane | RTAC140 | U16E05073 | 2016-08-30 | $ | 10 year full warranty-5/23/26 | $ | $ | $ | PM COST
Hutchens | Air cooled chiller | Trane | RTAC140 | U16E05074 | 2016-08-30 | $ | 10 year full warranty-5/23/26 | $ | $ | $ | PM COST
Howard Ele | Air Cooled Screw | Trane | RTAA2704XNO1ABCOBG | U98D09621 | 1998-04-27 |  |  | $ | $ | $
Howard Ele-new wing | Air cooled scroll | Trane | RTAA070AYMO1AOCO | U02003728 |  |  |  | $ | $ | $
J E Tuner E | Air Cooled Screw | Trane | RTAA1404XUO1A3COB | UO2D09194 | 2002-09-19 |  |  | $ | $ | $
J E Tuner E | Air Cooled Screw | Trane | RTAA1404XUO1A3COB | UO2D09295 | 2002-09-19 |  |  | $ | $ | $
John Will | Air cooled scroll | McQuay | AGZ130BS12ER11 | STNU050300129 | 2005-08-05 |  |  | $ | $ | $
John Will | Air cooled scroll | McQuay | AGZ130BS12ER11 | STNU050300137 | 2005-08-05 |  |  | $ | $ | $
Lefore High | centif water cooled | York | YTG1A3C3-CLJ | SNMM172000 | 2004-05-01 |  |  | $ | $ | $
Lefore High | Centrifugal Water Cooled | York | YTG1A3C3-CLJ | SNMM172150 | 2004-05-01 |  |  | $ | $ | $
Lefore High | Cooling Towlers | Evapco | AT8-312B | 985879M |  |  |  | $ | $ | $
Lefore High | Cooling Towers | Evapco | AT8-312B | 985878M |  |  |  | $ | $ | $
Mary B Austin E | Air cooled chiller | Trane | CGAM130 | U16J57637 | 2017-04-23 | $ | 10 year full warranty-3/22/27 | $ | $ | $ | PM COST
Maryvale E | Air cooled scroll | Trane | CGAMO52F2H02 | U13B34114 | 2013-03-06 |  |  | $ | $ | $
Maryvale E | Air Cooled Screw | Trane | RTAA070AYMO1AOCO | UO2F05292 | 2002-09-03 |  |  | $ | $ | $
McDavid Jones | Air cooled chiller | Trane | RTAE250 | U16J06253 | 2017-03-03 | $ | 10 year full warranty | $ | $ | $ | PM COST
McDavid Jones | Air cooledchiller |  | Insurance Claim - To Be Replaced - Chiller On Order
Mertz E | Air Cooled Screw | Trane | RTAA1254XLO1A3COB | U00G02042 | 2000-11-17 |  |  | $ | $ | $
Mertz E | Air Cooled Screw | Trane | RTAA1254XLO1A3COB | U00G02043 | 2001-04-05 |  |  | $ | $ | $
MGM | Air Cooled Screw | Trane | RTAC170 | U02F05404 |  |  |  | $ | $ | $
MGM | Air Cooled Screw | Trane | RTAC170 | UO2F05405 |  |  |  | $ | $ | $
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
MGM | Air cooled chiller | Trane | CGAM090F | U16E54827 | 2016-07-29 | $ | 10 year full Warranty-5/23/26 | $ | $ | $ | PM COST
MGM | Air cooled chiller | Trane | CGAM090 | U16E54828 | 2016-08-01 | $ | 10 year full Warranty-5/23/26 | $ | $ | $ | PM COST
Montgomery H | Air Cooled Screw | Trane | RTAA0804XK01A3DOKM | U98J03058 | 1998-09-21 |  |  | $ | $ | $
Murphy-Main Bldg | Air cooled chiller | York | YVAA0153BAF | 11531N43367255 | 2015-07-07 |  |  | $ | $ | $
Murphy-Main Bldg | Air cooled chiller | York | YVAA0153BAF | 11531N43367254 | 2015-07-07 |  |  | $ | $ | $
Murphy-Auditorium | Air cooled | Trane | CGAM110F | U15K51915 | 2016-08-10 |  |  | $ | $ | $
Murphy | Air cooled screw | Trane | RTAA1254YT01 | U07B02154 | 2007-04-26 |  |  | $ | $ | $
Murphy VOC | Air cooled chiller | Trane | CGAM080 | U16J57638 | 2017-04-23 | $ | 10 year full warranty | $ | $ | $ | PM COST
North Mobile | Air Cooled | Mc Quay | AGZ160CHSNNER10 | STNU091000114 | 2010-05-04 |  |  | $ | $ | $
North Mobile | Air Cooled | Mc Quay | AGZ160CHSNNER10 | STNU091000123 | 1905-07-02 |  |  | $ | $ | $
Orourke E | Air cooled chiller | Trane | CGAM060 | U16E55154 | 2016-08-06 | $ | 10 year full Warranty-5/23/26 | $ | $ | $ | PM COST
Orourke E | Air cooled chiller | Trane | CGAM060 | U16E55155 | 2016-08-06 | $ | 10 year full Warranty-5/23/26 | $ | $ | $ | PM COST
Phillips |  | Carrier | 30RAN055----511CX | 3009Q57686 | 2006-05-10 |  |  | $ | $ | $
Pillians M | Screw Water Cooled | York | YSCBCASI-CHC | SAMG-794780 | 1998-03-01 |  |  | $ | $ | $
Pillians M | Screw Water Cooled | York | YSCBCASI-CHC | SAMG-794910 | 1998-03-01 |  |  | $ | $ | $
Pillians M | Cooling Tower | Evapco | AT12-4188 | 975248M |  |  |  | $ | $ | $
RAINS | Air cooled chiller | YORK | YLAA0170SE | 2LXM013612 | 2012-02-17 |  |  | $ | $ | $
RAINS | Air cooled chiller | YORK | YLAA0170SE | 2GXM012511 | 2012-02-17 |  |  | $ | $ | $
Rosa Lott | Air cooled chiller | Trane | CGAM100P2 | U15F49830 | 2015-07-31 |  |  | $ | $ | $
Rosa Lott | Air cooled screwer | Trane | CGAM100P2 | U1549829 | 2015-07-31 |  |  | $ | $ | $
Semmes Ele | Air Cooled Screw | Trane | RTRA1104XH1A300B | U97A09290 | 1997-01-24 |  |  | $ | $ | $
Semmes Ele | Air Cooled Screw | Trane | RTRA1104XH1A300B | U97A09291 | 1997-01-24 |  |  | $ | $ | $
Semmes M-Wing | Air cooled Chiller | Trane | CGAM 040 | U21H02678 | 2022-01-14 | $ | 10 year full warranty | $ | $ | $ | PM COST
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Semmes M | Air Cooled Screw | Trane | RTAA3404XUO1A3COG | UO1A07279 | 2002-03-06 |  |  | $ | $ | $
Semmes M | Air Cooled Screw | Trane | RTAA3404XUO1A3COG | UO1A07280 | 2002-04-12 |  |  | $ | $ | $
Shaw | Air cooled screw | Trane | RTAC1854 11AFN | UA4F06088 |  |  |  | $ | $ | $
Shepard | Air cooled chiller | York | YCAL0134EC46 | RNNM10164 | 2005 |  |  | $ | $ | $
Shepard | Air cooled chiller | York | YCAL0134EC46 | RNNM10165 | 2005 |  |  | $ | $ | $
Old Shell Rd Elem | Air Cooled Screw | Trane | RTAA0804XK01A3DOKM | U98K03794 | 1998-10-30 |  |  | $ | $ | $
Old Shell Rd Elem | Air Cooled Screw | Trane | RTAA0804XK01A3DOKM | U98K03795 | 1998-10-30 |  |  | $ | $ | $
St Elmo | Air cooled chiller | Trane | CGAM060 | U16E54822 | 2016-08-05 | $ | 10 year full Warranty-5/23/26 | $ | $ | $ | PM COST
Tanner williams | Air cooled | Daikens | AGZ060EPTNN | STNU150800180 | 2016-01-12 |  |  | $ | $ | $
Tanner williams | Air cooled | Daikens | AGZ060EPTNN | STNU150800283 | 2016-01-12 |  |  | $ | $ | $
Tanner williams-Wing | Air cooled | Daikens | AGZ050 | STNU150800186 | 2016-07-27 |  |  | $ | $ | $
Taylor White | Air cooled scroll | York#1 | YLAA0156HE46 | 2FYM016674 | 2013-03-03 |  |  | $ | $ | $
Taylor White | Air cooled scroll | York#2 | YLAA0156HE46 | 2FYM016675 | 2013-03-12 |  |  | $ | $ | $
Theodore H | Centrifugal Water Cooled | McQuay | WSC063M | STNU060100203 | 2006-03-10 |  |  | $ | $ | $
Theodore H | Centrifugal Water Cooled | McQuay | WSC063M | STNU060100189 | 2006-03-10 |  |  | $ | $ | $
Theodore H-Auditorium | Air Cooled Recip | York | YLAA0135SE46XCA | SHXM-074760 |  |  |  | $ | $ | $
Theodore H | Cooling Tower | Evapco | AT19-914 | 5-283364 |  |  |  | $ | $ | $
Theodore H | Cooling Tower | Evapco | AT19-914 | 5-283369 |  |  |  | $ | $ | $
Vigor | Air Cooled Screw | McQuay | AGZ190C | STNU060200022 | 12/0/06 |  |  | $ | $ | $
Vigor | Air cooled screw | McQuay | AGZ190C | STNU060200002 | 12/0/06 |  |  | $ | $ | $
Spencer Westlawn | Air cooled screw chiller | McQuay | AWS225B | STNU130400145 | 2013-06-03 |  |  | $ | $ | $
Whitley | Air cooled chiller | McQuay | AGZ080DHSNN | STNU130100040 | 2013-07-08 |  |  | $ | $ | $
Whitley | Air cooled chiller | McQuay | AGZ080DHSNN | STNU130100031 | 2013-07-08 |  |  | $ | $ | $
SCHOOL | CHILLERTYPE | BRAND | MODEL | SERIAL | START UP | ANNUAL | WARRANTY INFO | ANNUAL COST | ANNUAL COST | ANNUAL COST
[5 empty] | DATE | P/M |  | 1ST YR | 2ND YR | 3RD YR
Wilmer Ele | Air cooled screw | Trane | RTAC1554UJON (See Exhibit #1) | UO5B0929800000 |  |  |  | $ | $ | $
Wilmer Ele | Air Cooled Screw | Trane | RTAC1554UJON | UO5B09297000000 | 2005-05-05 |  |  | $ | $ | $
Williamson H | Air cooled screw | Trane | RTAC1554URON | U09H5406 | 2009-08-31 |  |  | $ | $ | $
Williamson H | Air cooled screw | Trane | RTAC1554URON | U09H5405 | 2009-08-31 |  |  | $ | $ | $
Williamson H-New Wing | Air cooled | York | YCAL0043EE46XE | 1 1551B96158407 | 2020-06-30 | $ | full warranty until 9/14/29 | $ | $ | $ | PM COST
|  |  | TOTAL COST |  |  | $ |  | $ | $ | $

## Compatibility Report
Compatibility Report for #1chillers.xls
Run on 7/8/2015 7:03
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Minor loss of fidelity | # of occurrences | Version
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 7 | Excel 97-2003