Specifications for Greenhouse Package

Commercial Greenhouse Package to include following or equivalent equipment:

Gable 7500 Commercial Greenhouse 24' x 36', 20-30 lb. load rating with 10 year or better covering warranty

(2) Schaefer Slantwall Exhaust Fans 245S12, 24" diameter, 1/2HP belt drive, 115/230v

(3) Schaefer Aluminum Shutters 36" diameter

(3) Shutter Motor Kits for Schaefer Shutters with

VC109 Two Stage Thermostat

J&D Single Stage Thermostat VC115: hardwired

Modine HD125 Unit Heater Natural Gas

Plyco Series 20 Insulated Door (2) 3'W x 6' 8"H, double

Include Falcon Lever/Lockset

Include ADA Threshold

Include Commander Pack

RHOS unless otherwise noted

6 PX7020 tri-step display benches 18’ display

1 year or better warranty on motors, heater, and fans

Total bid for package and delivery:

$ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Submitted by \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Company Name

 Phone # \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature & Title of Company Official \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contact WCTC Director Dr. Lisa Thompson for questions.

(931) 722-5495